## Info
DISCLAIMER:
· This spreadsheet has been developed in the framework of the preparation and revision of the set of EN or ISO standards on the energy performance of buildings, to support the European "Energy Performance of Buildings Directive" recast (EPBD-recast, directive 2010/31/EU).
· It is meant for use by CEN and ISO technical committee(s) and the working group(s) working on the preparation or revision of the EPB-standard to which this spreadsheet applies. The spreadsheet supports checking that all equations in the developed standard are consistent and can be linked with other relevant standards. It is not meant to perform a full or partial energy performance calculation.
· The spreadsheet supports the expert user of the standards, in particular those who want to review the content of the standard and those who want to translate the standard to a software, to understand the correct interpretation of the equations and calculation steps in the standard.
· Although it has been developed with care, neither the technical committee(s), nor the working group(s) and experts related to the EPB- standard to which this spreadsheet applies warrant that the calculations and procedures in this spreadsheet are free of errors. The technical committees as well as the working groups and their respective members expressly disclaim any liability or responsibility arising from use of this spreadsheet, or any consequences thereof. Any responsibility arising from the use of this spreadsheet lies with the user.
DRAFT VERSION:
· As long as the associated EPB standard or any of the other EPB standards to which it is directly linked are in a draft stage, this spreadsheet is also a draft version only.
WARNINGS:
· Note that the spreadsheet may not allow testing all calculation options that are possible according to the standard to which it applies. This remark applies in particular but not only to limitations on the number instances of a variable that can be considered.
· In case of differences, the standard should be regarded as the reference, not the spreadsheet. However, during the standard's drafting phase, shortcomings in the draft standard may have been detected and dealt with in the spreadsheets (ideally, such differences are marked).
· Note also that these spreadsheets are purely intended for testing and demonstration and therefore not aiming to be user friendly or to be protected against wrong or improper use.
TERMS OF USE:
· The user is not allowed to redistribute a modified version of this spreadsheet.
· The author(s) would appreciate your feed back on the spreadsheet via the comment sheets for the associated draft standard to be prepared by the national standards bodies during enquiry of the draft standard(s),

## Economical Data
3
| Commercial buildings | 20
| Residential buildings | 30
| Others | 50
| Calculation Period | 50
1
| Discount rate (real interest rate) | 1.15% |  | Difference bewteen Actualisation factor and market interest rate
| Inflation rate for products | 2.5%
| Inflation rate for human activities | 3%
| Inflation rate for energy | 4%
| Inflation rate for water | 3%
2
| Percentage for demolition cost_1 | 6%
| Percentage for demolition cost_2 | 2%
| Maintenance rate for products | 4%
BUILDING ASSESSMENT INFORMATION
BUILDING LIFE CYCLE INFORMATION | [24 empty] | SUPPLEMENTARY INFORMATION BEYOND THE BUILDING LIFE CYCLE
| A 1 -3 |  |  |  |  | A 4 - 5 |  |  | B 1 - 7 | [8 empty] | C 1 - 4 | [7 empty] | D
| PRODUCT stage |  |  |  |  | CONSTRUCTION PROCESS stage |  |  | USE STAGE | [8 empty] | END OF LIFE stage | [7 empty] | Benefits and loads beyond the system boundary
| A1 | 0 | A2 | 0 | A3 | A4 | 0 | A5 | B1 |  | 0 | B2 | B3 | 0 | B4 | 0 | B5 | C1 | 0 | C2 | 0 | C3 | 0 | C4
| Raw material supply |  | Transport |  | Manufacturing | Transport |  | Construction-installation proces | Use |  |  | Maintenance | Repair |  | Replacement |  | Refurbishment | De-construction demolition |  | Transport |  | Waste processing |  | Disposal |  | Reuse - Recovery - Recycling - potential
[6 empty] | scenario |  | scenario | scenario |  |  | scenario | scenario |  | scenario |  | scenario | scenario |  | scenario |  | scenario |  | scenario
[9 empty] | B6 | Operational energy use
scenario
[9 empty] | B7 | Operational water use
scenario
Note on M10: Introduce in this Excel sheet all information relatd to the differnt percentag used to calculate the evloution of th prices and costs during th calulation period. These rates ar considered as the average on the calculation period. For demolition costs 2 values can be used depending on the difficulties for desconstruction or used of sepecific matrrials with costly deconstruction process

## Energy costs
Enrgy cost
| Energy type | Conversion factor for primary energy | CO2 content | Quantity | Energy cost (base) | energy cost per kWh | Primary Energy | CO2 | Delivered energy | Total
(€)
|  | - | kg/unit |  | € | € | kWh EP | kg | kWh | €
Heating | Gas | 1 | 0.22 | 10 |  | 0.06 | 10 | 2.2 | 10 | 0.6
| Other | 1.1 | 0.22 | 0 |  | 0.06 | 0 | 0 | 0 | 0
| Electricity | 2.5 | 0.1 | 1 |  | 0.12 | 2.5 | 0.1 | 1 | 0.12
Domestic hot Water | Gas | 1 | 0.22 | 3 |  | 0.06 | 3 | 0.66 | 3 | 0.18
| Other | 1.1 | 0.22 | 0 |  | 0.06 | 0 | 0 | 0 | 0
| Electricity | 2.5 | 0.1 | 0 |  | 0.12 | 0 | 0 | 0 | 0
Humidification | Gas | 1 | 0.22 | 0 |  | 0.06 | 0 | 0 | 0 | 0
| Other | 1.1 | 0.22 | 0 |  | 0.06 | 0 | 0 | 0 | 0
| Electricity | 2.5 | 0.1 | 5 |  | 0.12 | 12.5 | 0.5 | 5 | 0.6
Mechanical ventilation | Gas | 1 | 0.22 | 0 |  | 0.06 | 0 | 0 | 0 | 0
| Other | 1.1 | 0.22 | 0 |  | 0.06 | 0 | 0 | 0 | 0
| Electricity | 2.5 | 0.22 | 8 |  | 0.12 | 20 | 1.76 | 8 | 0.96
Deshumidification | Gas | 1 | 0.22 | 0 |  | 0.06 | 0 | 0 | 0 | 0
| Other | 1.1 | 0.1 | 0 |  | 0.06 | 0 | 0 | 0 | 0
| Electricity | 2.5 | 0.1 | 0 |  | 0.12 | 0 | 0 | 0 | 0
Lighting | Gas | 1 | 0.22 | 0 |  | 0.06 | 0 | 0 | 0 | 0
| Other | 1.1 | 0.22 | 0 |  | 0.06 | 0 | 0 | 0 | 0
| Electricity | 2.5 | 0.1 | 3 |  | 0.12 | 7.5 | 0.3 | 3 | 0.36
Other | Gas | 1 | 0.22 | 12 | 2 | 0.06 | 12 | 2.64 | 12 | 2.72
| Other | 1.1 | 0.22 | 0 | 0 | 0.06 | 0 | 0 | 0 | 0
| Electricity | 2.5 | 0.1 | 10 | 2 | 0.12 | 25 | 1 | 10 | 3.2
Exported Energy | Gas | 1 | 0.22 | 0 |  | -0.06 | 0 | 0 | 0 | 0
| Other | 1.1 | 0.22 | 0 |  | -0.06 | 0 | 0 | 0 | 0
| Electricity | 2.5 | 0.08 | 2 | 0.1 | -0.48 | 5 | 0.16 | 2 | 0.1
[5 empty] | 2.1 |  | 72.5 | 8.32 | 40 | 5.44 | €/m²
[6 empty] | Electricity for EPBD |  | 2 | 10 | 1.54 | €/m²
[6 empty] | ELectricity for non EPBD |  | 1 | 10 | 3.2 | €/m²
[6 empty] | Energy for EPBD |  | 2.86 | 13 | 0.78 | €/m²
[6 empty] | Energy for non EPBD systems |  | 2.64 | 12 | 2.72 | €/m²
[8 empty] | kg CO2/m² | kWh/m² | €/m²

## Calculation
Building surface | 8760 | m² |  |  |  | T0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | Final value | TC 20 Costs | TC 30 Costs | TC- 50 Costs | End of life Costs | Calculation period | Number of replacement
| Item | Quantity | Life span | Maintenance cleaning rate | Unitary costs | Discount factor | 1.0269 | 1.0406 | 1.0545 | 1.0685 | 1.0828 | 1.0973 | 1.1119 | 1.1267 | 1.1418 | 1.157 | 1.1725 | 1.1881 | 1.204 | 1.22 | 1.2363 | 1.2528 | 1.2695 | 1.2865 | 1.3036 | 1.321 | 1.3387 | 1.3565 | 1.3746 | 1.393 | 1.4116 | 1.4304 | 1.4495 | 1.4689 | 1.4885 | 1.5083 | 1.5285 | 1.5489 | 1.5695 | 1.5905 | 1.6117 | 1.6332 | 1.655 | 1.6771 | 1.6995 | 1.7222 | 1.7452 | 1.7685 | 1.7921 | 1.816 | 1.8402 | 1.8648 | 1.8897 | 1.9149 | 1.9404 | 1.9663 | [5 empty] | 50
[5 empty] | k€ | [52 empty] | 0 | 0 | 0 | bar: T0
Design |  | 1 |  |  | 1865 | T0: 1865 |  | 1865 | 1865 | 1865 |  |  |  | products and construction
demolition |  | 1 |  |  | 784 | T0: 784 |  | 1568 | 1568 | 784 |  |  |  | 56445.9318
Land (acquisition) |  | 1 |  |  | 333 | T0: 333 |  | 666 | 666 | 333
Site works |  | 1 |  |  | 482 | T0: 482 |  | 964 | 964 | 482 |  |  |  | In use Energy
Connection to services |  | 1 |  |  | 39 | T0: 39 |  | 78 | 78 | 39 |  |  |  | 22418.7993
Building products, works and services | [5 empty] | T0: 0 |  | 0 | 0 | 0
| Foundations and substructure | 0 | 80 | 0.01 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | In use Water
| Superstructure | 1 | 80 | 0.005 | 5327 | 5327 | 26.9905 | 27.3507 | 27.7158 | 28.0857 | 28.4605 | 28.8404 | 29.2253 | 29.6153 | 30.0106 | 30.4111 | 30.817 | 31.2283 | 31.6451 | 32.0674 | 32.4954 | 32.9291 | 33.3686 | 33.814 | 34.2653 | 34.7226 | 35.186 | 35.6556 | 36.1315 | 36.6137 | 37.1024 | 37.5976 | 38.0994 | 38.6079 | 39.1232 | 39.6453 | 40.1745 | 40.7106 | 41.254 | 41.8046 | 42.3625 | 42.9279 | 43.5009 | 44.0815 | 44.6698 | 45.266 | 45.8701 | 46.4823 | 47.1027 | 47.7314 | 48.3684 | 49.0139 | 49.6681 | 50.331 | 51.0028 | 51.6835 | 3329.375 | 2611.6837 | 2985.4464 | 3899.4528 | 319.62 |  | 0 | 285.389
| Wall | 1 | 51 | 0.005 | 4015 | 4015 | 20.3429 | 20.6144 | 20.8896 | 21.1684 | 21.4509 | 21.7372 | 22.0273 | 22.3213 | 22.6192 | 22.9211 | 23.227 | 23.537 | 23.8511 | 24.1695 | 24.4921 | 24.8189 | 25.1502 | 25.4859 | 25.826 | 26.1707 | 26.52 | 26.8739 | 27.2326 | 27.5961 | 27.9644 | 28.3376 | 28.7158 | 29.0991 | 29.4874 | 29.881 | 30.2798 | 30.6839 | 31.0934 | 31.5084 | 31.929 | 32.3551 | 32.7869 | 33.2245 | 33.668 | 34.1173 | 34.5726 | 35.0341 | 35.5017 | 35.9755 | 36.4556 | 36.9422 | 37.4352 | 37.9349 | 38.4412 | 38.9542 | 3936.2745 | 541.5462 | 823.2539 | 1512.1474 | 240.9 |  | 0
| Windows and Door and glazing (m²) | 0 | 30 | 0.02 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1 | Demolition costs
| Roof | 0 | 80 | 0.01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 817.2
| others | 0 | 60 | 0.01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| Automatic transportation | 1 | 30 | 0.02 | 270 | 270 | 5.4721 | 5.5451 | 5.6191 | 5.6941 | 5.7701 | 5.8471 | 5.9252 | 6.0042 | 6.0844 | 6.1656 | 6.2479 | 6.3313 | 6.4158 | 6.5014 | 6.5881 | 6.6761 | 6.7652 | 6.8555 | 6.947 | 7.0397 | 7.1336 | 7.2289 | 7.3253 | 7.4231 | 7.5222 | 7.6226 | 7.7243 | 7.8274 | 7.9319 | 409.9239 | 8.145 | 8.2537 | 8.3639 | 8.4755 | 8.5886 | 8.7032 | 8.8194 | 8.9371 | 9.0564 | 9.1773 | 9.2997 | 9.4239 | 9.5496 | 9.6771 | 9.8062 | 9.9371 | 10.0698 | 10.2041 | 10.3403 | 10.4783 | 267.9241 | 126.5706 | 604.2337 | 789.5401 | 16.2 |  | 1
| Partition wall | 1 | 60 | 0.01 | 120 | 120 | 1.216 | 1.2322 | 1.2487 | 1.2654 | 1.2822 | 1.2994 | 1.3167 | 1.3343 | 1.3521 | 1.3701 | 1.3884 | 1.4069 | 1.4257 | 1.4448 | 1.464 | 1.4836 | 1.5034 | 1.5234 | 1.5438 | 1.5644 | 1.5853 | 1.6064 | 1.6279 | 1.6496 | 1.6716 | 1.6939 | 1.7165 | 1.7394 | 1.7626 | 1.7862 | 1.81 | 1.8342 | 1.8586 | 1.8834 | 1.9086 | 1.9341 | 1.9599 | 1.986 | 2.0125 | 2.0394 | 2.0666 | 2.0942 | 2.1221 | 2.1505 | 2.1792 | 2.2083 | 2.2377 | 2.2676 | 2.2979 | 2.3285 | 100 | 47.6655 | 64.5048 | 105.684 | 7.2 |  | 0
| Fans | 0 | 10 | 0.04 | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 5
| Ventilation ducts | 0 | 20 | 0.04 | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 2
| Boiler/reservoir | 1 | 20 | 0.05 | 6000 | 6000 | 304.004 | 308.0613 | 312.1729 | 316.3393 | 320.5613 | 324.8397 | 329.1752 | 333.5685 | 338.0205 | 342.5319 | 347.1035 | 351.7361 | 356.4306 | 361.1877 | 366.0083 | 370.8932 | 375.8434 | 380.8596 | 385.9427 | 8212.9677 | 396.3134 | 401.6028 | 406.9628 | 412.3944 | 417.8984 | 423.4759 | 429.1278 | 434.8552 | 440.659 | 446.5402 | 452.5 | 458.5393 | 464.6592 | 470.8608 | 477.1451 | 483.5134 | 489.9666 | 496.5059 | 503.1325 | 10706.7998 | 516.6523 | 523.5478 | 530.5353 | 537.6161 | 544.7914 | 552.0625 | 559.4306 | 566.8971 | 574.4632 | 582.1303 | 5098.4761 | 15639.7715 | 19849.6015 | 40341.3507 | 120 |  | 2
| Radiators and emiters | 1 | 40 | 0.01 | 1270 | 1270 | 12.8695 | 13.0413 | 13.2153 | 13.3917 | 13.5704 | 13.7515 | 13.9351 | 14.1211 | 14.3095 | 14.5005 | 14.694 | 14.8902 | 15.0889 | 15.2903 | 15.4944 | 15.7011 | 15.9107 | 16.1231 | 16.3382 | 16.5563 | 16.7773 | 17.0012 | 17.2281 | 17.458 | 17.691 | 17.9271 | 18.1664 | 18.4089 | 18.6546 | 18.9035 | 19.1558 | 19.4115 | 19.6706 | 19.9331 | 20.1991 | 20.4687 | 20.7419 | 21.0188 | 21.2993 | 2179.9384 | 21.8716 | 22.1635 | 22.4593 | 22.7591 | 23.0628 | 23.3706 | 23.6826 | 23.9986 | 24.3189 | 24.6435 | 539.5887 | 1023.2044 | 1201.4206 | 3795.5885 | 76.2 |  | 1
| Pipes | 0 | 50 | 0.01 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1
| External works | 1 | 12 | 0.01 | 84 | 84 | 0 | 0.86257 | 0.87408 | 0.88575 | 0.89757 | 0.90955 | 0.92169 | 0.93399 | 0.94646 | 0.95909 | 0.97189 | 98.4861 | 0.99801 | 1.0113 | 1.0248 | 1.0385 | 1.0524 | 1.0664 | 1.0806 | 1.0951 | 1.1097 | 1.1245 | 1.1395 | 116.6251 | 1.1701 | 1.1857 | 1.2016 | 1.2176 | 1.2338 | 1.2503 | 1.267 | 1.2839 | 1.301 | 1.3184 | 1.336 | 136.7376 | 1.3719 | 1.3902 | 1.4088 | 1.4276 | 1.4466 | 1.4659 | 1.4855 | 1.5053 | 1.5254 | 1.5458 | 1.5664 | 160.3185 | 1.6085 | 1.63 | 26.4552 | 173.5607 | 300.8186 | 623.759 | 5.04 |  | 4
|  | 0 | 1 |  |  | 1: 0.85121 | 0 | 0.85121 | 0.85121 | 0.85121 |  |  | 50
| Regulation and BMS | 1 | 20 | 0.005 | 534 | 534 | 2.7056 | 2.7417 | 2.7783 | 2.8154 | 2.853 | 2.8911 | 2.9297 | 2.9688 | 3.0084 | 3.0485 | 3.0892 | 3.1305 | 3.1722 | 3.2146 | 3.2575 | 3.3009 | 3.345 | 3.3897 | 3.4349 | 699.6275 | 3.5272 | 3.5743 | 3.622 | 3.6703 | 3.7193 | 3.7689 | 3.8192 | 3.8702 | 3.9219 | 3.9742 | 4.0272 | 4.081 | 4.1355 | 4.1907 | 4.2466 | 4.3033 | 4.3607 | 4.4189 | 4.4779 | 912.0664 | 4.5982 | 4.6596 | 4.7218 | 4.7848 | 4.8486 | 4.9134 | 4.9789 | 5.0454 | 5.1127 | 5.181 | 453.7644 | 837.9381 | 875.4056 | 1874.5581 | 32.04 |  | 2
| Electrical network | 0 | 60 | 0.02 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
| Fire protection | 0 | 20 | 0.04 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 2
| Water for construction | 4500 |  |  | 9.45 | T0: 9.45 | 13751.858
| Electricity for construction | 230000 |  |  | 12.8865 | T0: 12.8865
| Fuels for construction | 0 |  |  | 0 | T0: 0
[6 empty] | T0: 21145.3365 |  | 26143.7919 | 31846.5365 | 56445.9318
Maintenance and repair |  | 0 | 1 |  |  | 374.4518 | 374.4518 | 384.5138 | 389.6457 | 394.8461 | 400.1159 | 405.4561 | 410.8675 | 416.3511 | 421.908 | 427.539 | 433.2451 | 439.0274 | 444.8869 | 450.8246 | 456.8416 | 462.9388 | 469.1174 | 475.3785 | 481.7231 | 488.1525 | 494.6676 | 501.2697 | 507.9599 | 514.7394 | 521.6094 | 528.571 | 535.6256 | 542.7744 | 550.0185 | 557.3593 | 564.7981 | 572.3362 | 579.9749 | 587.7156 | 595.5595 | 603.5082 | 611.5629 | 619.7251 | 627.9963 | 636.3779 | 644.8713 | 653.4781 | 662.1997 | 671.0378 | 679.9938 | 689.0693 | 698.266 | 707.5854 | 717.0292 | 726.5991 |  | 9002.2827 | 14256.8775 | 27106.5619
[7 empty] | 0 | -5.0643 | -5.1319 | -5.2004 | -5.2698 | -5.3402 | -5.4114 | -5.4836 | -5.5568 | -5.631 | -5.7062 | 91.7189 | -5.8595 | -5.9377 | -6.0169 | -6.0972 | -6.1786 | -6.2611 | -6.3446 | 8511.5915 | -6.5151 | -6.6021 | -6.6902 | 108.6909 | -6.87 | -6.9617 | -7.0546 | -7.1487 | -7.2441 | 394.5454 | -7.4388 | -7.5381 | -7.6387 | -7.7406 | -7.844 | 127.4351 | -8.0547 | -8.1622 | -8.2712 | 13254.4542 | -8.4934 | -8.6068 | -8.7217 | -8.8381 | -8.956 | -9.0755 | -9.1967 | 149.4118 | -9.4438 | -9.5698 | 27503.716
Operational costs
Water use |  | 1635 | m3/an | 1 | 0.0021 | 3.4335 | 3.4963 | 3.5602 | 3.6254 | 3.6917 | 3.7592 | 3.8279 | 3.898 | 3.9692 | 4.0418 | 4.1158 | 4.191 | 4.2677 | 4.3457 | 4.4252 | 4.5062 | 4.5886 | 4.6725 | 4.758 | 4.845 | 4.9336 | 5.0238 | 5.1157 | 5.2093 | 5.3046 | 5.4016 | 5.5004 | 5.601 | 5.7034 | 5.8077 | 5.9139 | 6.0221 | 6.1323 | 6.2444 | 6.3586 | 6.4749 | 6.5933 | 6.7139 | 6.8367 | 6.9618 | 7.0891 | 7.2187 | 7.3508 | 7.4852 | 7.6221 | 7.7615 | 7.9035 | 8.048 | 8.1952 | 8.3451 | 8.4977 |  | 86.9525 | 141.5339 | 285.389
Tax for water used | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0
Primary energy conversion factor | bar: T0
Electricity for EPBD use |  | 10 | kWH/m² |  | 13.4904 | 13.4904 | 14.2613 | 14.6631 | 15.0763 | 15.5011 | 15.9378 | 16.3869 | 16.8486 | 17.3234 | 17.8115 | 18.3133 | 18.8293 | 19.3598 | 19.9053 | 20.4662 | 21.0428 | 21.6357 | 22.2453 | 22.8721 | 23.5166 | 24.1792 | 24.8604 | 25.5609 | 26.2811 | 27.0216 | 27.783 | 28.5658 | 29.3706 | 30.1982 | 31.0491 | 31.9239 | 32.8234 | 33.7482 | 34.6991 | 35.6768 | 36.682 | 37.7156 | 38.7782 | 39.8708 | 40.9942 | 42.1493 | 43.3369 | 44.558 | 45.8134 | 47.1043 | 48.4315 | 49.7961 | 51.1991 | 52.6417 | 54.1249 | 55.65 |  | 640.3568 | 672.2807 | 1524.5838
Fuels for EPBD use |  | 13 | kWH/m² |  | 6.8328 | 88.8264 | 93.9726 | 94.0084 | 94.0447 | 94.0815 | 94.1187 | 94.1565 | 94.1949 | 94.2337 | 94.2731 | 94.313 | 94.3535 | 94.3945 | 94.4361 | 94.4783 | 94.5211 | 94.5644 | 94.6084 | 94.6529 | 94.6981 | 94.7439 | 94.7903 | 94.8374 | 94.8851 | 94.9335 | 94.9825 | 95.0323 | 95.0827 | 95.1338 | 95.1857 | 95.2382 | 95.2915 | 95.3455 | 95.4003 | 95.4559 | 95.5122 | 95.5693 | 95.6272 | 95.6859 | 95.7454 | 95.8058 | 95.867 | 95.9291 | 95.992 | 96.0558 | 96.1205 | 96.1861 | 96.2527 | 96.3202 | 96.3886 | 96.458 |  | 2830.538 | 2925.7762 | 4753.9588
Electricity (non EPBD,lifts) |  | 10 | kWH/m² |  | 28.032 | 28.032 | 28.8218 | 28.8218 | 28.8218 | 28.8218 | 28.8218 | 28.8218 | 28.8218 | 28.8218 | 28.8218 | 28.8218 | 28.8218 | 28.8218 | 28.8218 | 28.8218 | 28.8218 | 28.8218 | 28.8218 | 28.8218 | 28.8218 | 28.8218 | 28.8218 | 28.8218 | 28.8218 | 28.8218 | 28.8218 | 28.8218 | 28.8218 | 28.8218 | 28.8218 | 28.8218 | 28.8218 | 28.8218 | 28.8218 | 28.8218 | 28.8218 | 28.8218 | 28.8218 | 28.8218 | 28.8218 | 28.8218 | 28.8218 | 28.8218 | 28.8218 | 28.8218 | 28.8218 | 28.8218 | 28.8218 | 28.8218 | 28.8218 | 28.8218 |  | 863.865 | 892.6869 | 1441.0914
Fuels (others) |  | 12 | kWH/m² |  | 23.8272 | 285.9264 | 293.9827 | 293.9827 | 293.9827 | 293.9827 | 293.9827 | 293.9827 | 293.9827 | 293.9827 | 293.9827 | 293.9827 | 293.9827 | 293.9827 | 293.9827 | 293.9827 | 293.9827 | 293.9827 | 293.9827 | 293.9827 | 293.9827 | 293.9827 | 293.9827 | 293.9827 | 293.9827 | 293.9827 | 293.9827 | 293.9827 | 293.9827 | 293.9827 | 293.9827 | 293.9827 | 293.9827 | 293.9827 | 293.9827 | 293.9827 | 293.9827 | 293.9827 | 293.9827 | 293.9827 | 293.9827 | 293.9827 | 293.9827 | 293.9827 | 293.9827 | 293.9827 | 293.9827 | 293.9827 | 293.9827 | 293.9827 | 293.9827 | 293.9827 |  | 8811.4234 | 9105.4061 | 14699.1328
Environmental taxes on CO2 |  | 0.0085 | t CO2/m² | 9 | 0.07446 | 0.00063291 | 0.00065074 | 0.00065074 | 0.00065074 | 0.00065074 | 0.00065074 | 0.00065074 | 0.00065074 | 0.00065074 | 0.00065074 | 0.00065074 | 0.00065074 | 0.00065074 | 0.00065074 | 0.00065074 | 0.00065074 | 0.00065074 | 0.00065074 | 0.00065074 | 0.00065074 | 0.00065074 | 0.00065074 | 0.00065074 | 0.00065074 | 0.00065074 | 0.00065074 | 0.00065074 | 0.00065074 | 0.00065074 | 0.00065074 | 0.00065074 | 0.00065074 | 0.00065074 | 0.00065074 | 0.00065074 | 0.00065074 | 0.00065074 | 0.00065074 | 0.00065074 | 0.00065074 | 0.00065074 | 0.00065074 | 0.00065074 | 0.00065074 | 0.00065074 | 0.00065074 | 0.00065074 | 0.00065074 | 0.00065074 | 0.00065074 | 0.00065074 |  | 0.019504 | 0.020155 | 0.032537
[5 empty] | Running costs |  | 808.9872 | 814.4863 | 820.0652 | 825.725 | 831.467 | 837.2924 | 843.2026 | 849.1989 | 855.2827 | 861.4552 | 867.718 | 971.5736 | 880.5198 | 887.0618 | 893.6998 | 900.4354 | 907.2701 | 914.2056 | 921.2433 | 9446.4057 | 935.6322 | 942.9867 | 950.4503 | 1073.4951 | 965.7116 | 973.5129 | 981.4305 | 989.4662 | 997.6219 | 1407.7859 | 1014.3015 | 1022.8293 | 1031.4852 | 1040.2713 | 1049.1898 | 1193.6266 | 1067.4326 | 1076.7615 | 1086.2317 | 14358.6814 | 1105.6056 | 1115.5142 | 1125.5738 | 1135.7871 | 1146.1564 | 1156.6846 | 1167.3743 | 1336.9594 | 1189.2492 | 1200.4401
Note on B2: Column dscribing th caztgory of item or costs catgories. To create a new category insert a line then use 'copy' and 'paste'
Note on D2: Introduc lifetime for the different costs categoris bazsed on information display in the following excel sheet.
Note on A9: Jana Bendžalová: Better would be to say Imvestment costs
Note on B10: Jana Bendžalová:
Note on B17: Jana Bendžalová: these are not important
Note on B23: Jana Bendžalová: what are these works?
Note on B26: Jana Bendžalová: is this important?
Note on B28: Jana Bendžalová: These costs are usually in price of service or work e.g. in price of additional insulation.
Note on A35: Jana Bendžalová: Why only water?
Note on A36: Jana Bendžalová: Why tax only for water?
Note on A40: Jana Bendžalová:

## Results
Calculation period | 50 | years
products and construction
56445.9318 | 94.0766 | 70.59%
Others in use related buildings costs
0 | 0
In use Energy
22418.7993 | 37.3647 | 28.03%
In use Water
285.389 | 0.47565 | 0.3569%
Demolition costs
817.2 | 1.362 | 1.022%
Residual value | 22.9198
133.2789
Land acquisition and preparation | 3503 | 0.65599 | 9.0312
Investment cost | 38787.673 | 7.2636 | 100
Maintenance and repair costs | 27106.5619 | 5.0761 | 69.8845
Other operational costs (replacments) | 29339.3699 | 5.4943 | 75.641
In use energy | 22418.7993 | 4.1983 | 57.7988
In use water | 285.389 | 0.053444 | 0.73577
Demolition costs | 817.2 | 0.15548 | 2.1405
| 122257.9932 | 22.8972
| k€ | €/m².month | base 100 for investment costs

## Compare Option
Calculation period | 50 | 50
| Option A | Option B
Land acquisition and preparation | 5.8383 | 5.84
Investment cost | 64.6461 | 67
Maintenance and repair costs | 45.1776 | 47
Other operational costs (replacments) | 48.8975 | 43
In use energy | 6.7045 | 6.1
In use water | 0.46993 | 0.47
Demolition costs | 1.362 | 1.45
| 173.096 | 170.86
| 2.0522 | 98.02
Time | Investment option | Annual cost option | Invesment reference | Annual costs Reference | Discounted cash flow difference | Cumulative discount difference
1 | 21145.3365 | 808.9872 | 18000 | 980 | 171.0128 | -3316.3493
2 | 21145.3365 | 814.4863 | 18000 | 1019.7648 | 205.2784 | -3111.0709
3 | 21145.3365 | 820.0652 | 18000 | 1033.3751 | 213.3099 | -2897.761
4 | 21145.3365 | 825.725 | 18000 | 1047.167 | 221.442 | -2676.319
5 | 21145.3365 | 831.467 | 18000 | 1061.1431 | 229.6761 | -2446.6429
6 | 21145.3365 | 837.2924 | 18000 | 1075.3056 | 238.0132 | -2208.6297
7 | 21145.3365 | 843.2026 | 18000 | 1089.6572 | 246.4546 | -1962.1752
8 | 21145.3365 | 849.1989 | 18000 | 1104.2003 | 255.0014 | -1707.1737
9 | 21145.3365 | 855.2827 | 18000 | 1118.9376 | 263.6549 | -1443.5188
10 | 21145.3365 | 861.4552 | 18000 | 1133.8715 | 272.4163 | -1171.1026
11 | 21145.3365 | 867.718 | 18000 | 1149.0047 | 281.2868 | -889.8158
12 | 21145.3365 | 971.5736 | 18000 | 1164.3399 | 192.7663 | -697.0494
13 | 21145.3365 | 880.5198 | 18000 | 1179.8798 | 299.36 | -397.6894
14 | 21145.3365 | 887.0618 | 18000 | 1195.6271 | 308.5653 | -89.1241
15 | 21145.3365 | 893.6998 | 18000 | 1211.5846 | 317.8847 | 228.7607
16 | 21145.3365 | 900.4354 | 18000 | 1227.755 | 327.3196 | 556.0802
17 | 21145.3365 | 907.2701 | 18000 | 1244.1412 | 336.8711 | 892.9513
18 | 21145.3365 | 914.2056 | 18000 | 9460.7462 | 8546.5406 | 9439.492
19 | 21145.3365 | 921.2433 | 18000 | 1277.5728 | 356.3295 | 9795.8214
20 | 21145.3365 | 9446.4057 | 18000 | 1294.6239 | -8151.7818 | 1644.0396
21 | 21145.3365 | 935.6322 | 18000 | 1311.9026 | 376.2704 | 2020.31
22 | 21145.3365 | 942.9867 | 18000 | 1329.4119 | 386.4252 | 2406.7353
23 | 21145.3365 | 950.4503 | 18000 | 1347.155 | 396.7046 | 2803.4399
24 | 21145.3365 | 1073.4951 | 18000 | 1365.1348 | 291.6397 | 3095.0796
25 | 21145.3365 | 965.7116 | 18000 | 1383.3546 | 417.643 | 3512.7225
26 | 21145.3365 | 973.5129 | 18000 | 1401.8175 | 428.3046 | 3941.0272
27 | 21145.3365 | 981.4305 | 18000 | 1420.5269 | 439.0964 | 4380.1236
28 | 21145.3365 | 989.4662 | 18000 | 1439.486 | 450.0198 | 4830.1434
29 | 21145.3365 | 997.6219 | 18000 | 1458.6981 | 461.0762 | 5291.2196
30 | 21145.3365 | 1407.7859 | 18000 | 1478.1667 | 70.3808 | 5361.6004
31 | 21145.3365 | 1014.3015 | 18000 | 1497.895 | 483.5936 | 5845.1939
32 | 21145.3365 | 1022.8293 | 18000 | 1517.8867 | 495.0574 | 6340.2514
33 | 21145.3365 | 1031.4852 | 18000 | 1538.1452 | 506.66 | 6846.9114
34 | 21145.3365 | 1040.2713 | 18000 | 1558.6741 | 518.4028 | 7365.3142
35 | 21145.3365 | 1049.1898 | 18000 | 1579.477 | 530.2872 | 7895.6014
36 | 21145.3365 | 1193.6266 | 18000 | 10100.5575 | 8906.9309 | 16802.5323
37 | 21145.3365 | 1067.4326 | 18000 | 1621.9193 | 554.4867 | 17357.019
38 | 21145.3365 | 1076.7615 | 18000 | 1643.5663 | 566.8048 | 17923.8238
39 | 21145.3365 | 1086.2317 | 18000 | 1665.5022 | 579.2705 | 18503.0943
40 | 21145.3365 | 14358.6814 | 18000 | 1687.7308 | -12670.9506 | 5832.1437
41 | 21145.3365 | 1105.6056 | 18000 | 1710.2562 | 604.6505 | 6436.7942
42 | 21145.3365 | 1115.5142 | 18000 | 1733.0821 | 617.5679 | 7054.3621
43 | 21145.3365 | 1125.5738 | 18000 | 1756.2127 | 630.6389 | 7685.001
44 | 21145.3365 | 1135.7871 | 18000 | 1779.652 | 643.865 | 8328.866
45 | 21145.3365 | 1146.1564 | 18000 | 1803.4042 | 657.2478 | 8986.1138
46 | 21145.3365 | 1156.6846 | 18000 | 1827.4734 | 670.7887 | 9656.9025
47 | 21145.3365 | 1167.3743 | 18000 | 1851.8638 | 684.4894 | 10341.3919
48 | 21145.3365 | 1336.9594 | 18000 | 1876.5797 | 539.6203 | 10881.0122
49 | 21145.3365 | 1189.2492 | 18000 | 1901.6255 | 712.3763 | 11593.3885
50 | 21145.3365 | 1200.4401 | 18000 | 1927.0056 | 726.5655 | 12319.954
0

## Payback
Discounted payback period
Discount rate | [8 empty] | RATdisc = | 1.15%
Initial investment costs - reference - (e.g. doing nothing) | [8 empty] | COINIT,ref =
Initial investment costs - refurbishment - measure x | [8 empty] | COINIT = | 150000
Running costs - reference - (e.g. doing nothing) |  |  |  | annual |  |  |  |  | COrun ref = | 20000
Running costs - after refurbishement - measure x |  |  |  | annual |  |  |  |  | COrun = | 8000
Year | Discount factor | Reference - nothing doing |  |  | Measure x |  |  | Diffference in cash flow (running costs+ replacement) € | Present value € | Cumulative present value of annual gains € | Cumulative net present value (present value - investment) €
|  | Running costs € | Replacement costs € | Present value € | Running costs € | Replacement costs € | Present value €
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
1 | 0.98863 | 20000 |  | 19772.6149 | 8000 |  | 7909.046 | 12000 | 11863.569 | 11863.569 | -138136.431
2 | 0.97739 | 20000 |  | 19547.8151 | 8000 |  | 7819.126 | 12000 | 11728.689 | 23592.258 | -126407.742
3 | 0.96628 | 20000 |  | 19325.571 | 8000 |  | 7730.2284 | 12000 | 11595.3426 | 35187.6006 | -114812.3994
4 | 0.95529 | 20000 |  | 19105.8537 | 8000 |  | 7642.3415 | 12000 | 11463.5122 | 46651.1128 | -103348.8872
5 | 0.94443 | 20000 |  | 18888.6344 | 8000 |  | 7555.4538 | 12000 | 11333.1806 | 57984.2934 | -92015.7066
6 | 0.93369 | 20000 |  | 18673.8847 | 8000 |  | 7469.5539 | 12000 | 11204.3308 | 69188.6242 | -80811.3758
7 | 0.92308 | 20000 |  | 18461.5766 | 8000 |  | 7384.6306 | 12000 | 11076.9459 | 80265.5702 | -69734.4298
8 | 0.91258 | 20000 |  | 18251.6822 | 8000 |  | 7300.6729 | 12000 | 10951.0093 | 91216.5795 | -58783.4205
9 | 0.90221 | 20000 |  | 18044.1742 | 8000 |  | 7217.6697 | 12000 | 10826.5045 | 102043.084 | -47956.916
10 | 0.89195 | 20000 | 10000 | 26758.5381 | 8000 |  | 7135.6102 | 22000 | 19622.928 | 121666.012 | -28333.988
11 | 0.88181 | 20000 |  | 17636.209 | 8000 |  | 7054.4836 | 12000 | 10581.7254 | 132247.7374 | -17752.2626
12 | 0.87178 | 20000 |  | 17435.6985 | 8000 |  | 6974.2794 | 12000 | 10461.4191 | 142709.1565 | -7290.8435
13 | 0.86187 | 20000 |  | 17237.4676 | 8000 |  | 6894.987 | 12000 | 10342.4806 | 153051.6371 | 3051.6371
14 | 0.85207 | 20000 |  | 17041.4905 | 8000 |  | 6816.5962 | 12000 | 10224.8943 | 163276.5314 | 13276.5314
15 | 0.84239 | 20000 |  | 16847.7414 | 8000 | 30000 | 32010.7088 | -18000 | -15162.9673 | 148113.5641 | -1886.4359
16 | 0.83281 | 20000 |  | 16656.1952 | 8000 |  | 6662.4781 | 12000 | 9993.7171 | 158107.2812 | 8107.2812
17 | 0.82334 | 20000 |  | 16466.8267 | 8000 |  | 6586.7307 | 12000 | 9880.096 | 167987.3772 | 17987.3772
18 | 0.81398 | 20000 |  | 16279.6112 | 8000 |  | 6511.8445 | 12000 | 9767.7667 | 177755.1439 | 27755.1439
19 | 0.80473 | 20000 |  | 16094.5241 | 8000 |  | 6437.8097 | 12000 | 9656.7145 | 187411.8584 | 37411.8584
20 | 0.79558 | 20000 | 10000 | 23867.3121 | 8000 |  | 6364.6166 | 22000 | 17502.6956 | 204914.554 | 54914.554
21 | 0.78653 | 20000 |  | 15730.6391 | 8000 |  | 6292.2556 | 12000 | 9438.3834 | 214352.9374 | 64352.9374
22 | 0.77759 | 20000 |  | 15551.7934 | 8000 |  | 6220.7174 | 12000 | 9331.0761 | 223684.0135 | 73684.0135
23 | 0.76875 | 20000 |  | 15374.9812 | 8000 |  | 6149.9925 | 12000 | 9224.9887 | 232909.0022 | 82909.0022
24 | 0.76001 | 20000 |  | 15200.1791 | 8000 |  | 6080.0716 | 12000 | 9120.1075 | 242029.1096 | 92029.1096
25 | 0.75137 | 20000 |  | 15027.3644 | 8000 |  | 6010.9458 | 12000 | 9016.4186 | 251045.5283 | 101045.5283
26 | 0.74283 | 20000 |  | 14856.5145 | 8000 |  | 5942.6058 | 12000 | 8913.9087 | 259959.437 | 109959.437
27 | 0.73438 | 20000 |  | 14687.607 | 8000 |  | 5875.0428 | 12000 | 8812.5642 | 268772.0012 | 118772.0012
28 | 0.72603 | 20000 |  | 14520.6199 | 8000 |  | 5808.248 | 12000 | 8712.3719 | 277484.3731 | 127484.3731
29 | 0.71778 | 20000 |  | 14355.5313 | 8000 |  | 5742.2125 | 12000 | 8613.3188 | 286097.6919 | 136097.6919
30 | 0.70962 | 20000 | 10000 | 21288.4794 | 8000 | 30000 | 26965.4072 | -8000 | -5676.9278 | 280420.764 | 130420.764
31 | 0.70155 | 20000 |  | 14030.9635 | 8000 |  | 5612.3854 | 12000 | 8418.5781 | 288839.3421 | 138839.3421
32 | 0.69357 | 20000 |  | 13871.4419 | 8000 |  | 5548.5768 | 12000 | 8322.8652 | 297162.2073 | 147162.2073
33 | 0.68569 | 20000 |  | 13713.734 | 8000 |  | 5485.4936 | 12000 | 8228.2404 | 305390.4477 | 155390.4477
34 | 0.67789 | 20000 |  | 13557.8191 | 8000 |  | 5423.1276 | 12000 | 8134.6914 | 313525.1391 | 163525.1391
35 | 0.67018 | 20000 |  | 13403.6768 | 8000 |  | 5361.4707 | 12000 | 8042.2061 | 321567.3452 | 171567.3452
36 | 0.66256 | 20000 |  | 13251.287 | 8000 |  | 5300.5148 | 12000 | 7950.7722 | 329518.1174 | 179518.1174
37 | 0.65503 | 20000 |  | 13100.6297 | 8000 |  | 5240.2519 | 12000 | 7860.3778 | 337378.4952 | 187378.4952
38 | 0.64758 | 20000 |  | 12951.6854 | 8000 |  | 5180.6741 | 12000 | 7771.0112 | 345149.5065 | 195149.5065
39 | 0.64022 | 20000 |  | 12804.4344 | 8000 |  | 5121.7737 | 12000 | 7682.6606 | 352832.1671 | 202832.1671
40 | 0.63294 | 20000 | 10000 | 18988.2863 | 8000 |  | 5063.543 | 22000 | 13924.7433 | 366756.9103 | 216756.9103
41 | 0.62575 | 20000 |  | 12514.9357 | 8000 |  | 5005.9743 | 12000 | 7508.9614 | 374265.8718 | 224265.8718
42 | 0.61863 | 20000 |  | 12372.6503 | 8000 |  | 4949.0601 | 12000 | 7423.5902 | 381689.462 | 231689.462
43 | 0.6116 | 20000 |  | 12231.9825 | 8000 |  | 4892.793 | 12000 | 7339.1895 | 389028.6514 | 239028.6514
44 | 0.60465 | 20000 |  | 12092.914 | 8000 |  | 4837.1656 | 12000 | 7255.7484 | 396284.3998 | 246284.3998
45 | 0.59777 | 20000 |  | 11955.4266 | 8000 |  | 4782.1706 | 12000 | 7173.2559 | 403457.6558 | 253457.6558
46 | 0.59098 | 20000 |  | 11819.5023 | 8000 |  | 4727.8009 | 12000 | 7091.7014 | 410549.3571 | 260549.3571
47 | 0.58426 | 20000 |  | 11685.1234 | 8000 |  | 4674.0493 | 12000 | 7011.074 | 417560.4311 | 267560.4311
48 | 0.57761 | 20000 |  | 11552.2722 | 8000 |  | 4620.9089 | 12000 | 6931.3633 | 424491.7945 | 274491.7945
49 | 0.57105 | 20000 |  | 11420.9315 | 8000 |  | 4568.3726 | 12000 | 6852.5589 | 431344.3534 | 281344.3534
50 | 0.56455 | 20000 |  | 11291.0841 | 8000 | 5000 | 7339.2046 | 7000 | 3951.8794 | 435296.2328 | 285296.2328
51 | 0.55814 | 20000 |  | 11162.7129 | 8000 |  | 4465.0851 | 12000 | 6697.6277 | 441993.8605 | 291993.8605
52 | 0.55179 | 20000 |  | 11035.8011 | 8000 |  | 4414.3205 | 12000 | 6621.4807 | 448615.3412 | 298615.3412
53 | 0.54552 | 20000 |  | 10910.3323 | 8000 |  | 4364.1329 | 12000 | 6546.1994 | 455161.5406 | 305161.5406
54 | 0.53931 | 20000 |  | 10786.29 | 8000 |  | 4314.516 | 12000 | 6471.774 | 461633.3146 | 311633.3146
55 | 0.53318 | 20000 |  | 10663.6579 | 8000 |  | 4265.4632 | 12000 | 6398.1948 | 468031.5093 | 318031.5093
56 | 0.52712 | 20000 |  | 10542.4201 | 8000 |  | 4216.968 | 12000 | 6325.4521 | 474356.9614 | 324356.9614
57 | 0.52113 | 20000 |  | 10422.5606 | 8000 |  | 4169.0243 | 12000 | 6253.5364 | 480610.4978 | 330610.4978
58 | 0.5152 | 20000 |  | 10304.0639 | 8000 |  | 4121.6256 | 12000 | 6182.4383 | 486792.9361 | 336792.9361
59 | 0.50935 | 20000 |  | 10186.9144 | 8000 |  | 4074.7658 | 12000 | 6112.1486 | 492905.0847 | 342905.0847
60 | 0.50355 | 20000 |  | 10071.0968 | 8000 |  | 4028.4387 | 12000 | 6042.6581 | 498947.7428 | 348947.7428
61 | 0.49783 | 20000 |  | 9956.5959 | 8000 |  | 3982.6384 | 12000 | 5973.9576 | 504921.7004 | 354921.7004
62 | 0.49217 | 20000 |  | 9843.3969 | 8000 |  | 3937.3587 | 12000 | 5906.0381 | 510827.7385 | 360827.7385
63 | 0.48657 | 20000 |  | 9731.4848 | 8000 |  | 3892.5939 | 12000 | 5838.8909 | 516666.6293 | 366666.6293
64 | 0.48104 | 20000 |  | 9620.8451 | 8000 |  | 3848.338 | 12000 | 5772.507 | 522439.1364 | 372439.1364
65 | 0.47557 | 20000 |  | 9511.4632 | 8000 |  | 3804.5853 | 12000 | 5706.8779 | 528146.0143 | 378146.0143
66 | 0.47017 | 20000 |  | 9403.325 | 8000 |  | 3761.33 | 12000 | 5641.995 | 533788.0093 | 383788.0093
67 | 0.46482 | 20000 |  | 9296.4162 | 8000 |  | 3718.5665 | 12000 | 5577.8497 | 539365.8591 | 389365.8591
68 | 0.45954 | 20000 |  | 9190.7229 | 8000 |  | 3676.2892 | 12000 | 5514.4337 | 544880.2928 | 394880.2928
69 | 0.45431 | 20000 |  | 9086.2312 | 8000 |  | 3634.4925 | 12000 | 5451.7387 | 550332.0315 | 400332.0315
70 | 0.44915 | 20000 |  | 8982.9276 | 8000 |  | 3593.171 | 12000 | 5389.7565 | 555721.7881 | 405721.7881
71 | 0.44404 | 20000 |  | 8880.7984 | 8000 |  | 3552.3194 | 12000 | 5328.479 | 561050.2671 | 411050.2671
72 | 0.43899 | 20000 |  | 8779.8303 | 8000 |  | 3511.9321 | 12000 | 5267.8982 | 566318.1653 | 416318.1653
73 | 0.434 | 20000 |  | 8680.0102 | 8000 |  | 3472.0041 | 12000 | 5208.0061 | 571526.1715 | 421526.1715
74 | 0.42907 | 20000 |  | 8581.325 | 8000 |  | 3432.53 | 12000 | 5148.795 | 576674.9665 | 426674.9665
75 | 0.42419 | 20000 |  | 8483.7617 | 8000 |  | 3393.5047 | 12000 | 5090.257 | 581765.2235 | 431765.2235
76 | 0.41937 | 20000 |  | 8387.3077 | 8000 |  | 3354.9231 | 12000 | 5032.3846 | 586797.6081 | 436797.6081
77 | 0.4146 | 20000 |  | 8291.9503 | 8000 |  | 3316.7801 | 12000 | 4975.1702 | 591772.7783 | 441772.7783
78 | 0.40988 | 20000 |  | 8197.677 | 8000 |  | 3279.0708 | 12000 | 4918.6062 | 596691.3845 | 446691.3845
79 | 0.40522 | 20000 |  | 8104.4755 | 8000 |  | 3241.7902 | 12000 | 4862.6853 | 601554.0698 | 451554.0698
80 | 0.40062 | 20000 |  | 8012.3337 | 8000 |  | 3204.9335 | 12000 | 4807.4002 | 606361.47 | 456361.47
81 | 0.39606 | 20000 |  | 7921.2394 | 8000 |  | 3168.4958 | 12000 | 4752.7437 | 611114.2136 | 461114.2136
82 | 0.39156 | 20000 |  | 7831.1808 | 8000 |  | 3132.4723 | 12000 | 4698.7085 | 615812.9221 | 465812.9221
83 | 0.38711 | 20000 |  | 7742.1462 | 8000 |  | 3096.8585 | 12000 | 4645.2877 | 620458.2098 | 470458.2098
84 | 0.38271 | 20000 |  | 7654.1237 | 8000 |  | 3061.6495 | 12000 | 4592.4742 | 625050.6841 | 475050.6841
85 | 0.37836 | 20000 |  | 7567.1021 | 8000 |  | 3026.8408 | 12000 | 4540.2612 | 629590.9453 | 479590.9453
86 | 0.37405 | 20000 |  | 7481.0698 | 8000 |  | 2992.4279 | 12000 | 4488.6419 | 634079.5872 | 484079.5872
87 | 0.3698 | 20000 |  | 7396.0156 | 8000 |  | 2958.4062 | 12000 | 4437.6093 | 638517.1965 | 488517.1965
88 | 0.3656 | 20000 |  | 7311.9284 | 8000 |  | 2924.7714 | 12000 | 4387.157 | 642904.3535 | 492904.3535
89 | 0.36144 | 20000 |  | 7228.7972 | 8000 |  | 2891.5189 | 12000 | 4337.2783 | 647241.6319 | 497241.6319
90 | 0.35733 | 20000 |  | 7146.6112 | 8000 |  | 2858.6445 | 12000 | 4287.9667 | 651529.5986 | 501529.5986
91 | 0.35327 | 20000 |  | 7065.3596 | 8000 |  | 2826.1438 | 12000 | 4239.2157 | 655768.8144 | 505768.8144
92 | 0.34925 | 20000 |  | 6985.0317 | 8000 |  | 2794.0127 | 12000 | 4191.019 | 659959.8334 | 509959.8334
93 | 0.34528 | 20000 |  | 6905.6171 | 8000 |  | 2762.2468 | 12000 | 4143.3703 | 664103.2036 | 514103.2036
94 | 0.34136 | 20000 |  | 6827.1054 | 8000 |  | 2730.8422 | 12000 | 4096.2632 | 668199.4669 | 518199.4669
95 | 0.33747 | 20000 |  | 6749.4863 | 8000 |  | 2699.7945 | 12000 | 4049.6918 | 672249.1587 | 522249.1587
96 | 0.33364 | 20000 |  | 6672.7497 | 8000 |  | 2669.0999 | 12000 | 4003.6498 | 676252.8085 | 526252.8085
97 | 0.32984 | 20000 |  | 6596.8855 | 8000 |  | 2638.7542 | 12000 | 3958.1313 | 680210.9398 | 530210.9398
98 | 0.32609 | 20000 |  | 6521.8838 | 8000 |  | 2608.7535 | 12000 | 3913.1303 | 684124.0701 | 534124.0701
99 | 0.32239 | 20000 |  | 6447.7349 | 8000 |  | 2579.094 | 12000 | 3868.6409 | 687992.711 | 537992.711
100 | 0.31872 | 20000 |  | 6374.429 | 8000 |  | 2549.7716 | 12000 | 3824.6574 | 691817.3684 | 541817.3684
101 | 0.3151 | 20000 |  | 6301.9565 | 8000 |  | 2520.7826 | 12000 | 3781.1739 | 695598.5423 | 545598.5423

## History
Date | Version scope | Changes, notes
2013-09-24 | 1.0 | Draft version - Need to complete Energy costs according to EN 15603 and calculation period according to the type of buildings
2013-10-09 | 1.1 | Add various calculation period and calculation sheet on energy
2013-11-30 | 1.2 | Add payback calculation

## Ref. Service Life CEN CWA 27
from CEN CWA 27 - Europe
Reference Service Life
1 Insulation: building envelope | >25
2 Draught proofing | 5
4 Windows/glazing 24 | 24
5 Replace hot water storage tank | 15
6 Insulation of hot water pipes | >25
7 Heat reflecting radiator panels | 18
8 Small boilers | 17
9 Large boilers | 17
10 Heating control | 5
11 Heat recovery systems | 17
12 Hot water saving faucets | 15
13 Heat pump (household) | 17
14 Efficient chiller or room air conditioner | 10
15 New/upgraded district heating | 20
16 Solar water heating 19 | 19
17 Efficient cold appliances 15 | 15
18 Efficient wet appliances 12 | 12
19 Consumer electronic goods | 3
20 Efficient bulbs CFL | 6000h
21 Luminaire with ballast systems 15 | 15
23 Micro-CHP | 8
24 PV-panels | 23
25 Hydraulic balancing of heating | 10
26 Electricity saving | 2
27 Heat saving | 2
28 Feedback on use from smart meters | 2
29 Windows/glazing | 24
30 Insulation: building envelope | >25
31 Heat recovery systems | 17
32 Energy efficient architecture | >25
33 Heat pumps (commercial sector) | 20
34 Efficient chillers in AC | 17
35 Efficient ventilation systems | 15
36 Commercial refrigeration (supermarkets) | 8
37 Energy efficient office appliances | 3
38 Combined heat *and power | 8
39 Motion detection light controls | 10
40 New/renovated office lighting | 12
41 Public lighting systems | 13
42 EMS (monitoring, ISO) | 2

## Reference Service Life VDI 2067
ITEM Type
f |  |  | Service life | Repair | Servicing | operation
| Cast iron radiators 40 1 0 0 |  | 40 | 1 | 0 | 0
| Steel radiators |  | 35 | 1 | 0 | 0
| Flat radiators, steel |  | 30 | 0 | 0 | 0
| Convectors with cladding |  | 30 | 2 | 0 | 0
| Radiator paint |  | 10 | 0 | 0 | 0
| Ceiling heating with suspended steel pipes and heat-conducting plates 20 1.5 0.5 0 |  | 20 | 1.5 | 0.5 | 0
| Hot water underfloor heating |  | 30 | 1 | 0 | 0
Control units
| Thermostatic valves |  | 10 | 1 | 0 | 0
| Valves with auxiliary power operation |  | 10 | 1.5 | 0.5 | 0
Hot-air heaters
| Gas-fired air heaters for inter-storey heating |  | 15 | 1.5 | 0.5 | 0
| 1.1.4 Air heaters for heating large spaces, gas- or oil-fired |  | 15 | 4 | 1 | 1
1.1.5 Electric heating
| Thermal storage heater |  | 25 | 1 | 0.5 | 0
Electric underfloor heating (incl. mounting on untreated
| concrete floors) |  | 50 | 2 | 0 | 0
| Electric direct heating appliance, permanently built-in 25 1 0 0 |  | 25 | 1 | 0 | 0
1.2 Distribution
Pumps
| Foundation pumps |  | 18 | 2 | 1 | 0
| Inline pumps |  | 10 | 2 | 0 | 0
| Circulation pumps |  | 10 | 2 | 0 | 0
| Regulated jet pump |  | 20 | 1.5 | 0 | 0
| 1.2.2 Fittings |  | 20 | 1.5 | 0 | 0
1.2.3 Expansion tank, open or closed
| with membrane |  | 15 | 0 | 0.5 | 0
| with pressure pad |  | 25 | 2 | 0.5 | 0
| 1.2.4 Metering and regulating devices |  | 20 | 1.5 | 1 | 0
| 1.2.5 Heat insulation of pipes |  | 20 | 1 | 0 | 0
1.2.6 Pipelines from drawn or rolled pipes, following DIN for
| Hot water heating |  | 40 | 1 | 0 | 0
| Steam |  | 40 | 1 | 0 | 0
| Condensation |  | 8 | 5 | 0 | 0
| Gas |  | 40 | 0.5 | 0 | 0
| 1.2.7 Copper pipelines |  | 30 | 0.5 | 0 | 0
| 1.2.8 Plastic pipelines |  | 30 | 0.5 | 0 | 0
1.3 Generation
1.3.1 Heat generator
1.3.1.1 Gas fireplace with burner or fan
1.3.1.1.1 Recycle gas water heater and gas boiler with burner but no fan
| Recycle gas water heater |  | 18 | 2 | 1 | 0
| Combination recycle gas water heater |  | 18 | 2 | 1 | 0
| Storage gas water heater |  | 15 | 2 | 1 | 0
| Gas purpose-made heating boiler |  | 18 | 1 | 1 | 0
1.3.1.1.2 Hot-air heaters
| Gas-fired hot-air heaters for detached family houses 15 1.5 0.5 0 |  | 15 | 1.5 | 0.5 | 0
1.3.1.2 Purpose-made boiler for oil and gas furnaces
| Purpose-made boiler for oil and gas furnaces under 120 kW |  | 20 | 2 | 1.5 | 10
Boilers over 120 kW as purpose-made boiler for oil and gas furnaces, as
| cast-iron or steel boilers with a minimum return temperature or minimum |  | 20 | 2 | 2 | 20
volume flow
| Purpose-made boilers for oil and gas furnaces, as cast-iron or steel boilers |  | 20 | 2 | 1.5 | 20
over 120 kW without a minimum return temperature or minimum volume flow
| Gas condensing boiler, wall-mounted, under 100 kW |  | 18 | 1.5 | 1 | 20
| Gas condensing boiler, pedestal type, under 200 Kw |  | 20 | 1 | 1 | 20
| Gas condensing boiler, pedestal type, over 200 kW, with neutralisation |  | 20 | 1 | 1.5 | 20 | ?
system
1.3.1.3 Purpose-made boiler for solid fuel
| Cast-iron sectional boiler, only for heating without return temperature boost |  | 20 | 2 | 2.5 | 10
new design
| Steel boiler in similar design only for heating without return temperature in |  | 15 | 2 | 2.5 | 20
detached family house
| 1.3.1.4 High-speed steam generator |  | 10 | 4 | 1.5 | 50
| 1.3.1.5 Tank-type boiler and water-tube boiler > 1 MW 25 2 1.5 80 |  | 25 | 1 | 1.5 | 80
| 1.3.1.6 Thermo-oil boiler |  | 15 | 3 | 1.5 | 30
1.3.1.7 Burners
| Gas burner without fan |  | 20 | 1 | 2 | 0
| Gas burner with fan and fittings |  | 12 | 2 | 10 | 0
| Oil burner with fan and fittings |  | 12 | 2 | 10 | 0
1.3.1.8 Electric heating
| Electric central storage heater, storage medium water |  | 25 | 1 | 1.5 | 5
| Electric central storage heater, storage medium solid matter |  | 25 | 1 | 1.5 | 5
| Electric central storage heater for technical installations |  | 25 | 1 | 1.5 | 5
| Electrode boiler |  | 25 | 1 | 1.5 | 5
1.3.1.9 Heat pumps
| Electricity |  | 20 | 3 | 1 | 20
| Gas |  | 15 | 3 | 1.5 | 40
| Oil |  | 15 | 3 | 1.5 | 40
| 1.3.1.10 Block-type thermal power stations 15 6 2 100 |  | 15 | 6 | 2 | 100
1.3.1.11 Solar energy plants
| Absorbers |  | 20 | 0.5 | 0.5 | 5
| Flat plate collectors |  | 20 | 0.5 | 0.5 | 5
| Vacuum tube collectors |  | 20 | 0.5 | 0.5 | 5
| Vacuum flat plate collectors |  | 18 | 0.5 | 0.5 | 5
| IKS-system |  | 15 | 1 | 1 | 5
1.3.2 Connection piece (heat-insulated) between boiler and chimney
| Sheet metal thickness up to 4 mm |  | 10 | 1 | 1 | 0
| Sheet metal thickness of 4 mm or more |  | 15 | 1 | 1 | 0
1.3.3 Heat exchanger with copper battery, soldered or similar incl.
| Heating water or steam/heating water |  | 20 | 2 | 0 | 0
| Heating water/drinking water |  | 12 | 2 | 0 | 0
| Heating water/steam |  | 12 | 2 | 0 | 0
1.3.4 Domestic delivery station for district heating with direct connection 30 2 1 0
1.3.5 Local heating system
Steel casing pipe (laid inside building) 40 1 0 0 | Steel casing pipe (laid inside building) 40 1 0 0
Plastic casing pipe (underground) 40 1 0 0 | Plastic casing pipe (underground) 40 1 0 0
Plastic pipe (underground) 40 1 0 0 | Plastic pipe (underground) 40 1 0 0
1.3.6 Fuel feeder, ash removal, fuel store
Solid fuel feeder with mobile electro-pulley block 25 1.5 2 2 | Solid fuel feeder with mobile electro-pulley block 25 1.5 2 2
Solid fuel feeder with conveyor or plate belt 20 1.5 2 2 | Solid fuel feeder with conveyor or plate belt 20 1.5 2 2
Solid fuel feeder with forklift truck 15 4 2 2 | Solid fuel feeder with forklift truck 15 4 2 2
Pneumatic coal feeder 15 2 2 2 | Pneumatic coal feeder 15 2 2 2
Pneumatic coke feeder 10 4 2 2 | Pneumatic coke feeder 10 4 2 2
Cinder and ash transport via cinder lift 20 2 2 2 | Cinder and ash transport via cinder lift 20 2 2 2
Cinder and ash transport via pneumatic ash removal system 12 4 2 2 | Cinder and ash transport via pneumatic ash removal system 12 4 2 2
Dust removal system (without suction) with associated pipeline 20 2 2 2 | Dust removal system (without suction) with associated pipeline 20 2 2 2
Suction system 15 2 2 2 | Suction system 15 2 2 2
Steel battery case (DIN 6620-1) 25 2 1 0 | Steel battery case (DIN 6620-1) 25 2 1 0
Double-walled steel casing for underground storage (DIN 6606-2) | Double-walled steel casing for underground storage (DIN 6606-2)
30 1.5 1 0 | 30 1.5 1 0
Steel case assembled in situ (DIN 6625-1) 30 1.5 1 0 | Steel case assembled in situ (DIN 6625-1) 30 1.5 1 0
Steel case for overground or partially overground storage (DIN 6616, | Steel case for overground or partially overground storage (DIN 6616,
DIN 6618 and DIN 6619) | DIN 6618 and DIN 6619)
25 2 1 0 | 25 2 1 0
Case with plastic coating in accordance with RAL-RG 998, RAL-RG 977 30 1.5 1 0 | Case with plastic coating in accordance with RAL-RG 998, RAL-RG 977 30 1.5 1 0
Case with protective inner sleeves or protective lining (tested and approved) | Case with protective inner sleeves or protective lining (tested and approved)
30 1.5 1 0 | 30 1.5 1 0
Case out of material other than steel (tested and approved), e.g. aluminium, | Case out of material other than steel (tested and approved), e.g. aluminium,
plastic (PE, glass fibre reinforced plastic etc.) and reinforced concrete with | plastic (PE, glass fibre reinforced plastic etc.) and reinforced concrete with
inner coating (none of which corrode) | inner coating (none of which corrode)
30 1 0.5 0 | 30 1 0.5 0
Tank mounting with pipes 20 3 1 0 | Tank mounting with pipes 20 3 1 0
Leak detecting device 10 3 1 0 | Leak detecting device 10 3 1 0
Liquid gas container 18 1.5 1 0 | Liquid gas container 18 1.5 1 0
1.3.7 Structural installations
General construction costs 50 1 1 0 | General construction costs 50 1 1 0
Chimney in building 50 1 1 0 | Chimney in building 50 1 1 0
Free-standing chimney, brick-built or concrete 40 1 1 0 | Free-standing chimney, brick-built or concrete 40 1 1 0
Platforms or steps in boiler house 40 1 1 0 | Platforms or steps in boiler house 40 1 1 0
2 Ventilation and air-conditioning
2.1 Benefit transfer
2.1.1 Air transmission
| 2.1.1.1 Ceiling air transmission 20 0 0.5 0 | 20 | 0 | 0.5 | 0
| 2.1.1.2 Wall air transmission 20 0 0.5 0 | 20 | 0 | 0.5 | 0
| 2.1.1.3 Floor air transmission 20 0 0.5 0 | 20 | 0 | 0.5 | 0
2.1.2 Heat
2.1.2.1 Air heaters
2.1.2.1.1 Direct-central
| Gas 20 1 1 0 | 20 | 1 | 1 | 0
| Oil 20 1 1 0 | 20 | 1 | 1 | 0
| Electric 20 1 0.5 0 | 20 | 1 | 0.5 | 0
2.1.2.1.2 Direct-local
| Gas 20 1 1 0 | 20 | 1 | 1 | 0
| Oil 20 1 1 0 | 20 | 1 | 1 | 0
| Electric 20 1 0.5 0 | 20 | 1 | 0.5 | 0
2.1.2.1.3 Indirect-central
| Water | 20 | 1 | 1 | 0
| Steam | 20 | 1 | 1 | 0
| Gas | 20 | 1 | 1 | 0
2.1.2.1.4 Indirect-local
| Water | 20 | 0 | 0 | 0
| Steam | 20 | 0 | 0 | 0
| Gas | 20 | 0 | 0 | 0
2.1.2.2 Heat recovery devices
| Plate heat exchangers 20 2 10 0 | 20 | 2 | 10 | 0
Circulation heat exchangers 20 2 10 0 | Circulation heat exchangers 20 2 10 0 | 20 | 2 | 10 | 0
Heat exchanger tubes 20 2 10 0 | Heat exchanger tubes 20 2 10 0 | 20 | 2 | 10 | 0
Rotating heat exchangers 15 3 10 0 | Rotating heat exchangers 15 3 10 0 | 15 | 3 | 10 | 0
2.1.3 Cooling
2.1.3.1 Air coolers
| Water | 20 | 2 | 4 | 0
| Brine | 20 | 2 | 4 | 0
2.1.3.2 Heat recovery devices
| Plate heat exchangers | 20 | 2 | 10 | 0
Circulation heat exchangers 20 2 10 0
Heat exchanger tubes 20 2 10 0
Rotating heat exchangers 15 3 10 0
Heat pumps 20 2 1 0
2.1.3.3 Refrigerated case
2.1.3.3.1 Closed refrigerated case
Cases or longitudinal plates with water pipes (with clamped joints) 20 1 0.5 0
Roll-bonding elements with plastic cast (integrated water channels) 30 0 0 0
Extruded section with moulded water channels (embedded copper pipes)
30 0 0 0
Cases with copper pipe meanders (pipes flattened), laid loose or fixed to a
support plate above or below
20 1 0.5 0
Cases or longitudinal plates with capillary tube matting 20 1 0.5 0
Cases with aluminium heat conducting section and embedded copper pipes
(some sections with own support system)
20 1 0.5 0
2.1.3.3.2 Open refrigerated case
Slanting plates on water pipes (clamped joints) and louvered cover 20 1 1 0
Longitudinal plates with water pipes (clamped joints) 20 1 1 0
Extruded section with moulded water channels (embedded copper pipes)
20 1 1 0
Cases or longitudinal plates with open air passages (e.g. interleaved slits)
20 1 1 0
2.1.3.3.3 Cooling propeller 20 1 1 0
2.1.4 Humidity
2.1.4.1 Humidifiers
Vaporisation 15 3 2 0
Evaporation 15 3 2 0
Water jets 15 3 2 0
Compressed air jets 15 3 2 0
Mechanical 15 3 2 0
Ultrasound 15 3 2 0
2.1.4.2 De-humidifiers
Condensers 15 2 2 0
Absorption 10 3 3 0
Adsorption 10 3 3 0
2.1.4.3 Air washers
Jet-humidifiers 15 3 2 0
Trickling-humidifiers 15 3 2 0
2.1.5 Hygiene
2.1.5.1 Filters, single stage
Cross-flow/panel filter 0.25 0 0 0
Circular air filter 0.25 0 0 0
Drum filter 0.25 0 0 0
Boiler filter 0.25 0 0 0
Closed-circuit filter 0.25 0 0 0
Pocket filter 0.25 0 0 0
Rotating air filter 0.5 0 0 0
2.1.5.2 Filters, multi-stage
Cross-flow filter 0.25 0 0 0
Circular air filter 0.25 0 0 0
Drum filter 0.25 0 0 0
Boiler filter 0.25 0 0 0
Closed-circuit filter 0.25 0 0 0
Pocket filter 0.25 0 0 0
Rotating air filter 0.5 0 0 0
Electric filter 20 0 6 0
Activated carbon filter 0.5 0 0 0
2.1.6 Air discharge
2.1.6.1 Axial fans
Wall fan 8 0 0 0
Fan without stator 12 2 10 0
Fan with stator 12 2 10 0
Air expulsion devices 12 2 10 0
2.1.6.2 Mixed flow fans
Half radial
2.1.6.3 Radial fans
| Blades bent backwards | 12 | 2 | 10 | 0
| Straight blades | 12 | 2 | 10 | 0
| Blades bent forwards | 12 | 2 | 10 | 0
2.1.6.4 Cross flow fans |  | 12 | 2 | 10 | 0
2.1.7 Silencers
| Absorption silencer | 20 | 0 | 1 | 0
| Choke silencer | 20 | 0 | 1 | 0
| Reflection silencer | 20 | 0 | 1 | 0
2.1.8 Air conduction – air channels
| High pressure air duct | 20 | 0 | 1 | 0
| Low pressure air duct | 20 | 0 | 1 | 0
2.2 Distribution
2.2.1 Hot water, see Heating
2.2.2 Cold water
| Pipelines | 40 | 1 | 0 | 0
| Insulation | 20 | 1 | 0 | 0
| Pumps | 10 | 2 | 0 | 0
| Fittings | 20 | 1.5 | 0 | 0
| Control unit | 15 | 1.5 | 1 | 0
2.3 Generation
2.3.1 Heat, see Heating
2.3.2 Cooling
2.3.2.1 Cooling machine, indirect
| 2.3.2.1.1 Compression cooling systems | 15 | 2 | 1 | 1
| 2.3.2.1.2 Absorption cooling systems | 15 | 1.5 | 1 | 0
| 2.3.2.1.3 Thermo-electric cooling systems | 15 | 1 | 1 | 0
| 2.3.2.2 Recooling plants | 20 | 2 | 1 | 0
3 Heated drinking water
3.1 Benefit transfer
3.1.1 Fittings
| Shut-off and regulating fittings | 15 | 1 | 1 | 0
| Tap fittings | 10 | 1 | 0 | 0
| Cut-out and safety fittings | 15 | 1 | 1 | 0
3.1.2 Pipelines
| Drinking water pipelines | 40 | 1 | 0 | 0
| Heated drinking water pipelines for suitable water conditions or appropriate | 25 | 2 | 0 | 0
treatment
| Hot water pipelines for unsuitable water conditions or untreated water | 15 | 3 | 0 | 0
3.1.3 Heat insulation of pipelines 20 1 0 0 |  | 20 | 1 | 0 | 0
3.1.4 Metering and control devices 20 1.5 1 0 |  | 20 | 1.5 | 1 | 0
3.1.5 Pumps 10 2 0 0 |  | 10 | 2 | 0 | 0
3.1.6 Local hot water supply
| Flow heaters | 15 | 1 | 0 | 0
| Electric boiling water apparatus | 15 | 1 | 0.5 | 0
| Electric pressure flow heater | 15 | 1 | 0 | 0
| Electric open storage tank, isolated or not isolated, capacity 5 to 80 l | 15 | 1 | 0.5 | 0
| Electric closed storage tank | 20 | 2.5 | 0.5 | 0
| Storage-water heating tank with separate heating | 15 | 2 | 0.5 | 0
| Gas circulator water heater | 15 | 4 | 0.5 | 0
| Gas hot water or gas reserve tank | 12 | 2 | 0.5 | 0
3.2 Distribution
3.2.1 Hot water, see Heating
3.3 Generation
3.3.1 Heaters, see Heating
3.3.2 Central hot water supply
| Hot water storage tank | 25 | 1 | 0.3 | 0
| Flow heater | 15 | 1 | 0 | 0
3.3.3 Water treatment plants 15 1 1 1 |  | 15 | 1 | 1 | 1